# 🏆 ACHI MASTER DEFECT LIBRARY (FULLY OPTIMIZED)

## 1. SITE, EXTERNALS & SECURITY (EXT)

This merges:

- Site Conditions

- External Areas

- Drainage

- Perimeter

- Security Systems

### Site & Drainage

- Levels

- Surface Drainage

- Hardscaping

### Building Exterior

- External Walls

- Façade

- Cladding

- Finishes

### Perimeter & Security

- Fence

- Gates

- Security Systems

### External Services

- Outdoor Electrical

- External Plumbing

- Utility Connections

# 2. STRUCTURE (STR)

This merges:

- Foundation

- Structure

- FSI

- PCC Structural

### Foundation & Groundworks

- Excavation

- Soil

- DPC

- Formwork

- Reinforcement

- Concrete

### Structural Frame

- Columns

- Beams

- Slabs

- Structural Walls

### Structural Alterations

- Modifications

- Unsupported Openings

- Structural Damage

### PCC Structural Checks

- Reinforcement

- Embedded Services

- Lintels

- Balcony Structure

# 3. ROOFING (RF)

This merges:

- Roof

- Terrace

- Waterproofing

- Moisture from roof

- Roof services

### Roof Structure & Covering

- Trusses

- Framing

- Sheets

- Tiles

### Waterproofing & Penetrations

- Flashings

- Penetrations

- Membranes

### Drainage

- Gutters

- Downpipes

- Roof Falls

### Terraces & Parapets

- Flat Roofs

- Terrace Systems

- Parapets

### Roof Services

- Tanks

- Solar

- Roof Equipment

# 4. ELECTRICAL SYSTEMS (ELEC)

### Distribution & Protection

- DB

- MCB

- RCD

- Earthing

- Lightning Protection

### Wiring

- Cabling

- Junctions

- Conduits

### Fixtures

- Sockets

- Switches

- Lighting

### Alternative Power

- Generator

- Inverter

- Battery

- Solar

# 5. PLUMBING, WATER & WASTE (PLMB)

This merges:

- Plumbing

- Water Storage

- Drainage

- Septic

### Water Supply

- Distribution

- Valves

- Pumps

### Storage Systems

- Elevated Tanks

- Underground Tanks

- Tank Stands

### Fixtures

- WC

- Basins

- Showers

- Taps

### Drainage & Waste

- Waste Pipes

- Vents

- Floor Drains

- Septic

- Soakaway

- Manholes

# 6. HVAC & MECHANICAL (HVAC)

### Cooling Systems

- Split Units

- Outdoor Units

### Ventilation

- Natural

- Mechanical

### Water Heating

- Water Heaters

- Associated Plumbing

### HVAC Installation

- Rough-In

- Controls

- Electrical

- Drainage

# 7. LIFE SAFETY (SAFE)

This merges:

- Fire Safety

- Gas

- Accessibility

- Commercial Life Safety

### Fire Protection

- Detection

- Extinguishers

### Means of Escape

- Exits

- Signage

- Emergency Lighting

### Gas Systems

- LPG

- Gas Piping

### Safety & Accessibility

- Fall Hazards

- Handrails

- Accessibility Features

# 8. INTERIORS (INT)

This merges:

- Wet Areas

- Moisture

- Joinery

- Appliances

- Glass

### Finishes

- Walls

- Floors

- Ceilings

### Openings

- Doors

- Windows

- Glass Systems

### Wet Areas

- Bathrooms

- Waterproofing

- Wet Area Electrical

- Glass Enclosures

### Interior Features

- Stairs

- Railings

- Built-ins

- Joinery

- Appliances

### Moisture & Indoor Environment

- Damp

- Leaks

- Mold

- Condensation

# 9. COMMERCIAL SYSTEMS (CIB)

Keep separate because these defects do not belong in residential inspections.

### Public Areas

- Egress

- Accessibility

### Commercial Services

- Commercial Electrical

- Commercial HVAC

### Commercial Facilities

- Restrooms

- Plant Rooms

- Facility Conditions

# 10. DOCUMENTATION (DOC)

### Approvals & Compliance

### Drawings & Design Documents

### Testing & Certification

### Construction Records

### Handover Documents

# FINAL ACHI APP NAVIGATION

- Site, Externals & Security

- Structure

- Roofing

- Electrical Systems

- Plumbing, Water & Waste

- HVAC & Mechanical

- Life Safety

- Interiors

- Commercial Systems

- Documentation

### Why this is likely the best version

- Eliminates overlap between Moisture, Wet Areas, Plumbing, and Roofing.

- Removes standalone FSI and PCC navigation; they become inspection filters, not systems.

- Keeps inspectors within 10 systems total.

- Every defect you've developed has exactly one logical home.

- Works for SHI, MIC, SAI, HHC, PCC, FSI, and CIB without creating duplicate libraries.